| Test | Sample Requirements | Sample Volumes* | Special Precautions | Turnaround Urgent | Turnaround Routine | Key Factors |
| --- | --- | --- | --- | --- | --- | --- |
| Antenatal Screen | EDTA X 1 | 4.9 ml 5 ml |  | N/A | Within 24 hours |  |
| Antibody Panel – (for identification of irregular antibodies) | EDTA X 3 | 4.9 ml 5 ml |  | Depends on nature of antibodies – laboratory will discuss | Depends on nature of antibodies – laboratory will discuss |  |
| Antibody Titre | EDTA X 1 | 4.9 ml 3X 4.9ml for anti-D or c |  | N/A | Within 24 hours | If anti-D or anti-c is present the specimens will be referred to NBS, Leeds for quantification. |
| Blood Group & Antibody Screen | EDTA X 1 | 4.9 ml |  | 45 mins | Within 6 hours | The detection of atypical antibodies and incompatibilities may cause unexpected and inevitable delays. |
| Cold Agglutinin Titre | EDTA X 1 | 4.9 ml | Maintain the sample at 37c post collection and during transit to the laboratory. | N/A | Within 24 hours | Sample MUST BE KEPT WARM prior to separation. |
| Crossmatch | EDTA X 1 | 4.9 ml | Patients’ spun samples are stored at 4-8 oC for 7 days and may be suitable for subsequent crossmatch requests. | 45 mins | 4 hours | Blood – [red cells] is provided in accordance with the agreed “surgical blood order schedule” – see below. Exceptions to the schedule must be discussed directly with the laboratory staff. The detection of atypical antibodies and incompatibilities may cause unexpected and inevitable delays. Un-crossmatched blood may be issued on Clinical demand only. Blood can now be issued electronically provided: - Two electronic groups exist on the database (One historical and one for the current situation) - The patient has no atypical antibodies present. Electronic Issue enables blood to be available for the patient within 20 minutes rather than the serological issue of 45 minutes. The transfusion department will undertake the decision to EI. |
| DCT | EDTA X 1 | 4.9 ml |  | 45 mins | Within 24 hours |  |
| Genotype | EDTA X 1 | 4.9 ml |  | N/A | Usually within 24 hours |  |
| Heparin Induced Thrombocytopenia (HIT) Assay | EDTA X2 and | 10 mL 7.5 mL |  | Screen test completed within 2 hrs to exclude HIT. If not excluded 1-3 days for confirmation | Screen test completed within 2 hrs to exclude HIT. If not excluded 1-3 days for confirmation | Samples referred to Bristol NBS if screening does not exclude HIT, discuss with laboratory staff before taking samples. |
|  | Serum Gel X 1 |  |  |  |  |  |
| HLA B27 | EDTA X 1 | 4.9 ml | Store at room temperature | N/A | 6 weeks – contact laboratory if needed sooner. | Samples referred to Tissue Typing Laboratory, St. James University Hospital, Leeds |
| Investigation of Transfusion Reaction | EDTA X 1 and | 4.9 ml 3 ml Total of next available | CONTACT LABORATORY FOR ADVICE | Within 24 hours – contact laboratory | Within 24 hours | USER MUST CONTACT LABORATORY Return all transfused blood packs |
|  | EDTA x 1 and |  |  |  |  |  |
|  | Urine |  |  |  |  |  |
| Kleihauer | EDTA x 1 from mother EDTA x 1 from baby (cord) and | 4.9 ml 4.9 ml 3 ml 3 ml |  | N/A | Within 48 hours – usually 6 hours | A Kleihauer test is a prerequisite for all Anti-D prophylaxis after the 20th week of pregnancy. |
|  | EDTA x 1 from mother EDTA x 1 from baby (cord) |  |  |  |  |  |

* For paediatric patients, smaller volumes (approximately 1 ml) are acceptable – please contact the laboratory for further advice if necessary.